Introduction

Aim

The overall aim of this plan is to enable English Heritage to respond in an appropriate manner to any major emergency.

Structure

The plan has been designed for use during an emergency and consists of one black A4 manual entitled ‘Emergency Response’.

It contains the arrangements for English Heritage response, including the escalation process, the co-ordination and control of the emergency, and recovery after an incident. Salvage information and the procedures for the removal, treatment, and storage of valuable objects are also included.

The contents are confidential and must be kept secure.

Further guidance on pre-planning and preventing emergencies can be found on the English Heritage PRIME website alongside EH Management Standards for Integrated Emergency Planning.

Maintenance and Distribution

This plan has been produced in hard copy for the locations shown on the front cover of the manual.  Some parts of the plan will also be stored on the English Heritage PRIME website.

The EH National Safety Team is responsible for the development of plans. The individual site is responsible for ensuring their plans are up-to-date by amending documents held on PRIME or notifying the National Safety Team of any changes.

| INITIAL CONTACTS | MOBILE | OFFICE | HOME | Distance from home to site (if appropriate) |
| --- | --- | --- | --- | --- |
| Duty Manager Pager | 00000 123456 |  |
| Contact Name | Facilities Manager | 01111 123456 | 00000 111222 | 02111 890123 | Lives on site |
| Contact Name | Site Manager | 02222 123456 | 00000 222333 | 02111 890122 | Lives on site |
| Contact Name | Site Supervisor | 03333 123456 |  | 02111 890125 | Lives on site |
| Contact Name | Site Supervisor | 04444 123456 | 00000 333444 |  | 10 mins |
| Contact Name | Curator | 05555 123456 | 00000 444555 | 00111 123456 | 30 mins |
| Contact Name | Conservator | 06666 123456 | 00000 555666 |  | 1 hour |
| Conservation Incident Hotline | Collections Care 24 hrs | 01010 101010 |
| EH Press Office | 01010 101010 |  |
| SITE STAFF/ STAFF BASED AT SITE | MOBILE | OFFICE | HOME | Distance from home to site (if appropriate) |
| Name | Position (eg. Team Member) |  |  |  |  |
| Contact Name | Facilities Team Member | 07777 123456 | 00000 666777 |  | 45 mins |
| Contact Name | Housekeeper | 08888 123456 |  |  | 15 mins |
| Contact Name | Historic Property Steward | 07888 123456 |  | 00111 234567 | 30 mins |
| Contact Name | Historic Property Steward | 07788 123456 |  | 00111 345678 | 45 mins |

Example House Internal Emergency Contact List

| OTHER EH CONTACTS | MOBILE | OFFICE | HOME |
| --- | --- | --- | --- |
| Estates Helpdesk |  | 0000 1234567 |  |
| Contact Name | M&E Technical Manager | 09999 123456 | 00000 777888 |  |
| Contact Name | B&CE Technical Manager | 11111 123456 | 00000 888999 |  |
| Contact Name | Landscape Manager | 22222 123456 | 00000 999000 |  |
| Contact Name | Health & Safety Co-ordinator East Territory | 33333 123456 | 00000 000111 |  |
| Contact Name | Regional Estates Manager | 44444 123456 | 00000 111222 |  |
| Contact Name | East Office Manager | 55555 123456 | 00000 222333 |  |
| Contact Name | Senior Curator (Collections) East | 66666 123456 | 00000 333444 |  |
| Contact Name | HVO London | 77777 123456 | 00000 444555 |  |
| Contact Name | National H&S Advisor | 88888 123456 | 00000 555666 |  |

| OTHER EH SITES All other useful EH contacts |
| --- |
| Nearby Example EH Office | 00000 666777 |
| Nearby Example EH Site | 00000 777888 |

| Emergency Services | Emergency Number | Non-Emergency |
| --- | --- | --- |
| Ambulance | 999 |  |
| Coastguard | 999 |  |
| Police | 999 |  |
| Fire Services | 999 |  |
| Local Hospital – Example A&E (30 mins) |  | 11111 123456 |
| Local Police Station – Example Area (5-10 mins) |  | 22222 123456 |
| Local Fire Station – Example Area (5-10mins) |  | 33333 123456 |
| Police Community Support Officer |  | 44444 123456 |
| Counter Terrorism Hotline | 0800 789 321 |  |
| Local Council Emergency Planning Manager |  | 55555 123456 |

Example House External Emergency Contact List

| Utilities | Emergency Number | Non-Emergency |
| --- | --- | --- |
| Electricity – British Gas | 0000 111 111 | 0000 1234567 |
| Gas - nPower | 0000 222 222 | 0111 1234567 |
| Electricity/Gas - EDF |  | 0222 1234567 |
| Water – London Water | 0000 333 333 |
| Telephone Faults - BT | 0000 444 444 Pin No. 1234 Account No. 1234567 |

| Security | Emergency Number | Non-Emergency |
| --- | --- | --- |
| Security Company | 0000 555 555 | 0333 123456 |
| Intruder and Fire Alarms Company | 0000 666 666 | 0444 123456 |
| Monitoring Company | 0000 777 777/ 0000 888 888 (False Alarms) |

| Trades people Where possible please add contract number | Emergency Number | Non-Emergency |
| --- | --- | --- |
| Maintenance Contractor Company | 0810 123456 | 0555 123456 |
| Electrical | 0666 987543 | 0666 123456 |
| Heating and Plumbing | 0777 123123 | 0777 123456 |
| Cleaning Contractor | 0888 123123 | 0888 123456 |

| Other Please enter any local museums/National Trust properties who may want to enter into reciprocal arrangements for an emergency response. | Emergency Number | Non-Emergency |
| --- | --- | --- |
| Local Museum |  | 0345 123456 |
| Local Farmer | 077130 900111 | 0345 123450 |

| Emergency Strategy |
| --- |
| Address of Premises | Example House Example Avenue London Grid Ref: EX 000 000 | DATE: 13.12.2011 |
| Responsible Person | Example Name |  |
| Provision | Description | Important Factors |
| Significant Historic Feature | The building is grade 1 listed and dates from 1800. The house is set in a substantial estate and faces south. The house is of irregular design built in brick and faced with concrete. It measures approximately 200 metres by 100 metres. The 3 main sections of the house are the Central wing, the East wing and the West wing. The house is also connected to the Service wing. The building ranges from 2 to 3 storeys. The house has a substantial basement under the Central wing and the Service wing. There are a substantial number of buildings across the estate including the Gate House, Out House Office and various other cottages and lodges. | The ceilings in the Central Wing are ornate and in a fragile state - contact with water may weaken or destroy them. |
| Significant Contents | The house contains a large collection of items ranging from furniture to oils, prints and drawings. The most important item is The Central Wing Clock designed by J.Smith in the late 19c. The ground floor staterooms in the West and East wings are also important. The house is listed for its architectural and historical interest. | The Central Wing Clock designed by J.Smith is particularly important. |
| Fire Risks | The heating system for the Central, East and West wings is a hot air circulation system so ducts exist from the basement boiler through all the floors. The kitchens for the catering operation are in the Service wing and are fire separated by fire resisting partitions and doors. | The boiler room is kept free of all combustibles to limit the size of fire that could occur thus reducing the risk of smoke spread through the ducts. |
| Flood & Other Risks | Some water leaks into the upper floor of the Central Wing if there has been exceptional rainfall. There are several water tanks set above the Service wing supplying the internal fire fighting system and hose reels. A leak detection system is fitted to the Central, East and West wings and the water supply to the basins and toilets has been isolated. | Gutters, hoppers and areas where the roof angles meet should be inspected regularly. Estates clear drains yearly. |
| Access for Fire Engines | The nearest fire station is in Example Town and is fully crewed. The station is 1km away. The fire service inspects the site regularly and an emergency plan is held by the fire service. Example House holds a copy of this plan. Access is limited via the main gates to the south of the property due to low clearance; the rear entrance to the North is more suitable for large vehicles. A fire control room is situated in the East wing. The main car park is the agreed meeting point for in the event of an emergency. |  |
| Water Supplies | There is a 100,000 gallon reservoir (situated 100 metres east of the house) serving a fire pump (situated south of the house). Procedures in place. This can pump 500 litres per minute. 10 fire hydrants are supplied from the reservoir are situated around the perimeter of the house. Five hydrants are supplied by mains water and these are situated around the main building. These are shown on the site plan. | The pump is tested weekly and written procedures are kept in the fire station building. |
| Compartmentation | Example House is divided into two main areas; the Service wing and main house. These two areas have sub-compartments protecting the staircases and corridors. |  |
| Means of Escape | The basement area has 25 rooms with 2 exit routes each with two stairways. One outdoor exit. The main wing basement area has 25 rooms and contains the main plant rooms. This area of the basement has 2 double door exits to outside and 3 stairwells. The main house ground floor is divided into 3 areas. Central wing, the East wing and the West wing. The Central wing has one externally opening double door exit to the sout, and two exits to the north - one a single door exit for disabled visitors situated at the north east corner and one and one a double door externally opening a pair of doors off the Central corridor. Internal double doors lead from the Central corridor to the East Wing area. The East Wing has a pair of inwardly opening double doors on the south face and 3 sets of inwardly opening doors on the north and east faces. The Wing also has corridor access to the Service wing. The Service wing has a North wing and a South wing with connecting corridors. | The exit capacity of the building with the existing available doors and the largest exit discounted is approximately as follows:- 250 persons in 2 minutes, if on the double doors one leaf is bolted closed which halves the flow rate. If all the existing double exit doors have both leaves available, but closed and not bolted the exit capacity would be 500. If all the existing double exit doors are pinned open the exit capacity would be 800. If one extra set of double doors were to be pinned open the exit capacity would be 1000, enough to cope with peak capacity. |
| Fire Alarm & Detection | The property is smoke and heat alarmed throughout (rooms and corridors) Alarms are connected to the security room and are connected externally to a monitoring station and the fire service. | The alarm panel displays the location of the activated detector. |
| Emergency Lighting | The house has emergency lighting powered by a battery pack which runs for several hours. Batteries are in the Central Wing basement. |  |
| Fire Fighting Equipment | CO2 and water extinguishers are provided throughout the property in fire points adjacent to exit doors and storey exits. |  |
| Signs & Notices | Exit signs exist and all are illuminated. |  |
| Procedures | Description | Important Factors |
| Evacuation Procedure | All persons evacuate simultaneously on discovery of a fire or on hearing alarm (Two sounders bell and klaxon). Staff will sweep the building to ensure complete evacuation and report to the assembly point in the main car park. Evacuation procedures are in place. The HVO or deputy will cancel the alarm or will assume control either at the Fire Control room or designated back up point Members of public can leave the premises or wait in the muster area if they wish to wait and continue the visit. Exits to ground level are available for disabled staff or visitors |  |
| Training | Training is an ongoing activity with tests 5 times a year. The training ensures all staff are familiar with the building layout aware of the location of exit doors trained in evacuation procedures and roll calls trained on the safe use of fire fighting equipment trained on how to call the fire service |  |
| Record of tests etc | A log book exists showing all statutory tests on fire alarm emergency lighting and extinguisher service are recorded together with staff trg and evacuation drills |  |
| Fire Risk Assessment | Done – due Dec 2012. |  |

Incident Coordinator

Manages the incident. Appoints individuals to team leader roles. Responsible for communication with Emergency Services. Delegates tasks and does not get involved in specific activities. Remains in one place and is available to make decisions. Deals with all external enquiries including media contact (or appoints someone to do this.) Monitors the bigger picture. Ensures events and key decisions are recorded.

Security

Ensures people, building/site and objects are secure. Manages entry to site and establishes cordons. Appoints individuals to travel off-site with objects if needed. Arranges for site to be secured following salvage operation, eg. manned guarding, security fencing, alarm resets.

Communication & Welfare

Ensures information is shared. Keeps in contact with all teams. Monitors and sends messages. Keeps Incident Co-ordinator updated. Monitors communication between salvage and recovery teams to ensure the flow of salvaged objects is appropriate. Monitors the health and safety of individuals. Ensures people have breaks and looks for signs of stress/fatigue. If appointed, handles press/external communications.

Documentation

Implements a controlled documentation process to ensure whereabouts of objects are recorded. Ensures all items are identified and/or recorded as they are treated and packed. Located with recovery teams. Security aspect to this role, so liaises with security contact or holds this role as well. Documentation can be a lengthy process so a team may be required if people are available.

Quartermaster

Manages physical resources. Identifies materials available and allocates them to salvage and recovery teams whilst coordinating requests for resources. Obtains additional items if needed.

Salvage Team Coordinator

Manages the removal of objects from the building/site or liaises with the emergency services salvage teams. Prioritises the order of objects to be salvaged and accounts for the unique circumstances of the incident. Communicates with the Incident Coordinator. Controls access to the salvage site or provides clear instructions to the emergency services. Ensures Incident coordinator and Recovery Team leaders know what to expect. Assesses the level of triage necessary at the point of recovery.

Salvage Teams

With the consent of the emergency services and under the guidance of the Salvage Team Coordinator, the Salvage Teams remove objects from rooms or area agreed with Emergency Services. Team transports to object triage area. Ensures security of objects by handing to recovery teams. Appropriate PPE should be worn.

Recovery Team coordinator

Organises resources for the triage of objects. Establishes work stations, equipment and teams for wet recovery and dry recovery. Ensures all salvaged objects are treated, packed and labelled. Ensures location of objects is documented or liaises with Documentation team.

Wet recovery Teams

Deals with the worst affected salvaged items (wet, contaminated or physically damaged). Makes decisions on immediate actions, i.e. further washing, freezing, drying, etc. Provides initial object first aid. Team members record treatment and confirm documentation as items leave for storage.

Dry Recovery Teams

Deals with items that do not require immediate first aid. Carefully packing, labelling and protecting objects is a priority. Team members will record condition of all objects and confirm documentation as items leave for storage.

| Risk Assessment for Salvage Operations |
| --- |
| What To Check For | Satisfactory Condition? | Describe Hazard | Proposed Action against No or Don’t Know |
|  | Yes | No | Don’t Know |  |  |
| Is there effective liaison and communication with emergency services? |  |  |  |  |  |
| Have hazardous Areas Been cordoned off? |  |  |  |  |  |
| Has a Control Point been established? |  |  |  |  |  |
| Has a secure salvage area been designated and secured (as well as possible)? |  |  |  |  |  |
| Have staff been reminded to be alert to security issues, such as theft from salvage area or unauthorised entry into the building? |  |  |  |  |  |
| Where applicable, have site security guards been re-deployed? |  |  |  |  |  |
| Is there record of who is in emergency area, where they are working? & when they are due to return to control point |  |  |  |  |  |
| Is there an evacuation procedure in place? |  |  |  |  |  |
| Is there a system in place to identify hazards & warn operatives? |  |  |  |  |  |
| Is there a system in place to ensure operative’s welfare & to guard against fatigue? |  |  |  |  |  |
| Is there a system in place to ensure good manual handling practices prevail? |  |  |  |  |  |
| Is Personal Protective Equipment available & used when required? |  |  |  |  |  |

| Entry Control Log |
| --- |
| NAME | TIME IN | TIME OUT | LOCATION |

| INCIDENT COMMUNICATIONS RECORD LOG |
| --- |
| Date: | Name of Recorder: |

| SHEET NUMBER……………… |
| --- |
| Time | Description of event / Telephone/radio message | Telephone/Radio Message |
|  |  | CALLER | RECEIVER |
| Example | Fire service entering building | ----- | ----- |
| Example | Quartermaster has radioed to ask for support in salvage store | Steve E | Martyn W |

Entering a Burning Building in Safety

The Senior Fire & Rescue Service Officer is in Charge !

Do not enter inner cordon unless

you have been briefed and know:

- where the fire is & there is no danger of being trapped.

- what your specific task is & you are capable of undertaking it.

- your personal protective equipment is suitable & sufficient.

If you satisfied with the above:

Sign in the entry log

Stay with your buddy or team

Be aware of your surroundings at all times.

Breathe only fresh air not smoke

Check doors are not warm before opening them

Keep escape route within sight

Keep to job in hand, do not wander

Listen for evacuation whistle

Stay in radio contact (if available)

Sign out of the entry log

Danger Signs

Sudden increase in temperature, noise or smoke production

Collapsing roof timbers

Fire on floors below you

Remember

The exit route & any alternatives

Smoke rises so if caught, crawl on the floor in fresh air

The evacuation signal :- short blasts on a whistle

A building that has been damaged by rising floodwater is likely to be a dangerous place.

Before entering a flooded building you must consider:

Electrical hazards

Structural hazards

Hazardous materials

Bacteria and viruses

Ventilation

- Electrical hazards

If water has come into contact with electrical circuits, and especially if the water rose above electrical outlets, turn off power at the main breaker or fuse of the service panel.  Do not turn power back on until the equipment has been repaired or inspected by an electrician.

- Structural hazards

Never assume that water-damaged structures, particularly ceilings, are safe.  If in doubt DO NOT ENTER.  Leave immediately if shifting or unusual noises signal a possible collapse.

- Hazardous materials

Damaged building materials may contain asbestos and lead-based paint.  Before disturbing suspect material, precautions should be taken to prevent exposure.  Floodwaters can contain hazardous materials such as pesticides, fuel or spilled chemicals.  Play it safe and do not enter if in doubt.

- Bacteria and viruses

Microscopic organisms, particularly those from sewage, can be found in mud or sediment left by floodwater.  If you accidentally swallow sediment or flood water that is contaminated, you might develop gastrointestinal illness.  You can reduce the risk by wearing rubber gloves, not eating or smoking, and frequent hand washing.  If you get a cut or wound that is exposed to flood water, there is some risk of tetanus and you should be vaccinated if you haven’t received a tetanus vaccination within the past 5 years.

- Ventilation

Never use generators within an enclosed area as there is a danger of carbon-monoxide poisoning.

Security During Incident Operations

| Topic | Recommended Action |
| --- | --- |
| IEP Folder Security | When using the folders, keep them secure at all times and control the issue of grab sheets to salvage teams. |
| Incident Response | Plan the movement and storage of objects or items as determined by the incident. |
|  | Cordon off area’s where possible |
|  | If the site or office is open, visitors/staff should be directed to the muster point – see inside front cover of emergency response folder |
|  | As an incident develops, it is important to consider the security of individuals, the evacuated building and objects. |
| Using Resources | Allocate security duties to minimise risks to salvaged collections/items. Guarding duties may need to be different during an incident |
|  | If necessary, and if it is safe to do so, guard doors and exits |
|  | If a guarding company provides guarding services for your site, consider asking them for additional staff for the duration of the salvage operation. Otherwise appoint staff to these duties |
| Movement & Security of Objects & Assets | Monitor the movement of objects/items. Carry out this activity at a safe/appropriate distance determined by the emergency. |
|  | Ensure routes are understood and the receiving area has space available. Monitor the receiving area |
|  | Appoint guards or staff to monitor loading and transport. If valuable objects/items are to be transported by a third party, assign a staff member to travel with the object/s to ensure safe and secure storage at the agreed destination. It is essential to obtain guidance from the conservation hotline contact, if collection objects are to be moved. It is also essential to protect all important items, objects and data before, during and after transport |
|  | Ensure the following items are not vulnerable to criminal activity: tills & contents, safe & contents, stock, IT equipment, confidential data, objects/items remaining in situ and any other confidential items. Ensure buildings & building fabric are also not vulnerable to criminal activity |
|  | If objects/items are to be stored in an unfamiliar environment, make sure appropriate security exists. Appoint a static guard if necessary |
| Documentation | Accurate documentation is an essential security process. Valuable objects and items may need to move to and from assessment and treatment area’s and then to storage area’s. You need to ensure records are kept showing where objects/items are. |
| Triage & Treatment areas | You may need to appoint guards or staff to monitor triage and treatment area’s |
| CCTV | Where available and practicable, use site security camera’s to: monitor salvage operations monitor entrance/exit points view entrances/exits/salvage operations monitor traffic (if relevant) |
| Site Relocation | If you need to relocate objects, staff, assets or records, ensure security measures and protocols at the alternative location are appropriate and suitable to ensure people and items are safe and protected. Eg you may need to consider additional security guarding. Ensure appropriate asset control is introduced eg ensuring valuable items/equipment or data are recorded. |

Spillages

It is essential that you attend to any spillage as soon as possible.  The level of response will depend on the nature of the spill and will therefore be site specific but the following should be considered:

Immediate response:

- Identify what has been spilt and assess the risk to health

- Decide quickly whether expert help is required or if the situation can be dealt with in-house using an appropriate spillage kit.

- Move people (including yourself) to a safe distance away from fumes etc

- Cordon off the area to prevent further exposure to people

- Eliminate ignition sources

- Ventilate the area by opening doors and windows

Clean Up

- Decide on a plan of action

- Only deal with the spillage if you can identify the substance and know how to deal with it safely.

- Refer to the Hazard Data Sheets for the substances involved.

- Assemble proper materials and equipment for the clean-up

- Put on suitable Personal Protective Equipment to minimise exposure e.g. respirator, eye protection, overalls, gloves.

- Contain the spill by absorbing liquids with a suitable absorbent material or neutraliser.

- Prevent further spread, particularly into drains and/or watercourses.

- Correctly dispose of the spilt material and any clean up material using a specialist disposal firm if necessary.

- Documentation

During Salvage operations it is essential to keep track of all objects and to ensure they remain secure. Documentation is therefore important but should not delay removal or first aid treatment of objects.

As soon as practical a person or persons should be appointed to undertake Documentation.

- Priority Objects

The emergency plan identifies the highest priority objects, room by room, with an individual salvage sheet which must stay with the object; an Inventory of Priority Objects is kept in the response file and can be used to record the movement of these objects.

- Remaining Objects

After removal and documentation of priority objects, the blank inventory sheet can be used to record what other objects have been removed and whether they have been stored or sent for further treatment.

- Labelling Objects

Identification labels with the inventory number should be attached to larger items or, in the case of items crated the number of items in the crate, their inventory numbers and the room they were salvaged from. These details should be entered onto the blank inventory sheet. Labels should be attached to objects by tying on with cotton tape, adhesive stickers should NEVER be stuck directly onto an object.

- Security

- Decide what security measures are needed at the earliest opportunity. The immediate salvage scene is likely to be chaotic, and is the most vulnerable to opportunist theft.

- Wherever possible choose a salvage area that has the following features:

  - Accessible from the scene

  - Naturally occurring boundaries e.g. fences or walls

  - Is easily overlooked

  - Is away from footpaths

  - Is away from planting or other features that might allow a thief to approach unseen

- Taping off a secure area with only one entry point, to deposit removed objects, will help identify interlopers. Anybody not known or easily identifiable and any suspicious activity should be challenged.

- Where possible consider floodlighting the secure salvage area at night.

- The further movement of objects to a triage and treatment/packing area can be more easily controlled and all persons working in these areas should be reminded of their security responsibility by the Incident Manager.

- If there are sufficient people, one should be appointed to supervise the secure salvage area and help ensure security.

- Staff should also be alert to the possibility of people entering the building, particularly if there are some parts unaffected by the incident but have un-secured entrances.

- Sites with static guards should re-deploy them to protect the salvage area, control access onto site and prevent unauthorised re-entry into the building.

  - Security when Transporting Objects

- If objects are to be transported, they need to be logged on at the site and off at their destination using an off site curator or other employee.

- High value priority objects may need to be accompanied during transport and the security of the storage facility should be assessed before entrusting the objects to a third party.

Inventory of Priority Objects at Example House

| Object Type | Inventory No | Object Description | Priority | Floor | Room & Position in Room | First Aid Required? | Location? | Storage Destination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Painting | 3.1950 | Painting: Night Sky | 1 | G | Gallery Above fireplace |  |  |  |
| Furniture | 88.1930 | Carved Mahogany Library Chair | 2 | G | Drawing Room |  |  |  |
| Files | - | Architectural Investigation Project Files | 2 | G | Office By back wall |  |  |  |
| Ornament | 45.1950 | Japanese Ceramic Vase | 1 | 1 | Red Bedroom |  |  |  |

Ground Floor Gallery

| First Floor Gallery |
| --- |
| Priority 1 Painting: Night Sky ‘The Stars at Night’ by T. Jones Inventory no: 3.1950 |
| 160cm | 90cm |
| Ladder needed | Removal: Unhook Chain |

| Object First Aid Record |  |
| --- | --- |
| Wet or Damp | Contam inated | Broken | Weak | Dangerous to Handle | Mouldy | Smoke Damaged | Other |

| Pack As Is | Dry and Pack | Keep Wet and Freeze | Wash then Dry | Other |
| --- | --- | --- | --- | --- |

Ground Floor Drawing Room

| First Floor Drawing Room |
| --- |
| Priority 2 Carved Mahogany Library Chair Inventory no: 88.1930 |
| 80cm | 100cm |
|  | Removal: Carry chair by base. |

| Object First Aid Record |  |
| --- | --- |
| Wet or Damp | Contam inated | Broken | Weak | Dangerous to Handle | Mouldy | Smoke Damaged | Other |

| Pack As Is | Dry and Pack | Keep Wet and Freeze | Wash then Dry | Other |
| --- | --- | --- | --- | --- |

First Floor Red Bedroom

| First Floor Red Bedroom |
| --- |
| Priority 1 Japanese Ceramic Vase Inventory no: 45.1950 |
| 45cm | 65cm |
|  | Removal: Hold carefully from base. |

| Object First Aid Record |  |
| --- | --- |
| Wet or Damp | Contam inated | Broken | Weak | Dangerous to Handle | Mouldy | Smoke Damaged | Other |

| Pack As Is | Dry and Pack | Keep Wet and Freeze | Wash then Dry | Other |
| --- | --- | --- | --- | --- |

Ground Floor Office

| Ground Floor Office |
| --- |
| Priority 2 Architectural Investigation Project Files |
| 50cm | 160cm |
|  | Removal: Remove all files from the cabinet (not locked) Place files into a crate and store securely |

| Object First Aid Record |  |
| --- | --- |
| Wet or Damp | Contam inated | Broken | Weak | Dangerous to Handle | Mouldy | Smoke Damaged | Other |

| Pack As Is | Dry and Pack | Keep Wet and Freeze | Wash then Dry | Other |
| --- | --- | --- | --- | --- |

Inventory of Salvaged Objects

| Object Type | Inventory No (if known) | Object Description/s | Floor & Room Recovered from | 1st Aid Rqrd? Where | Returned form 1st Aid? | Pack? | Crate? Wrap? Ref Number | Where Stored? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EXAMPLE ONLY | 900024545 | 8 blue vases | FR4 Dining Room | No | EXAMPLE | Yes | Crate 1 | Brodsworth Barn 1 |
|  | 90017777 | Small painting Horse Racing | Billiard Room | No | EXAMPLE | Yes | Crate 3 | Momart Receipt 00114 |
|  | - | Children on swing | FR4 Dining Room | Yes wet | EXAMPLE |  | Item ref FR4 P1 |  |

## AIR-DRYING

- Air-drying involves objects being spread out over an area and dried through air movement or dehumidification.

- This method of drying can be carried out in-house. It is cheap, but labour intensive and requires space.

PREPARE ROOM

- Remove any wet materials i.e. stationary, boxes, curtains or carpet.

- Open windows and bring in fans to circulate air OR close all windows and use dehumidifiers. (Ensuring damp air or water is vented/ drained out of room.)

- The drying effect can be intensified with a wind tunnel, a tunnel of Correx or plastic sheeting with fans at one or both ends (Ensure air from fans is not aimed directly at fragile items.)

- Washing lines can be put up for hanging or pegging (using plastic pegs) strong, but damp sheets of paper.

- Plastic, perforated racks such as bread trays or airing racks are ideal for air drying objects as they provide support and allow airflow.

RINSING

If the objects are heavily soiled, the worst of the dirt can be removed by brushing or rinsing off, taking care not to introduce dirt to clean areas, i.e. keep books shut.

PREPARE OBJECTS

- Assess books and paper based material first. (Heavily waterlogged books should be frozen if possible)

- Treat books in the following order:

weak and wet books

weak and damp books

strong and wet books

strong and damp books

- Consider the fragility of paper and fastness of dyes.

- Support all areas of fragile items, either on a board or by holding together loose fragments with a gauze bandage.

- Remove paper clips, string or ribbon (and keep bagged and labelled) to prevent staining or stress on the object.

- Three dimensional objects such as costumes and baskets need to be padded out to their normal shape before air drying. Nylon netting can be used for this

- Books that are strong enough can be stood on their spines and the pages fanned out. Turn them up the other way after a while. See ‘Books’ sheet for other options.

- Flat items such as maps, newspapers, documents and plans can be dried flat between blotting paper, as long as the inks are not running. Change blotting paper regularly.

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

FREEZING

WHEN TO FREEZE

- If you have a large, wet collection you cannot dry in 48 hours to prevent mould growth.

- If materials have water-soluble components such as watercolours, some dyed textiles and documents with water soluble inks.

- The freezing process can take a long time, and once frozen, you may not have access to the material until the treatment is completed.

- Some objects cannot be frozen; check sheets.

PROCEDURE

- Books can be packed for freezing in plastic containers or cardboard boxes. The books should be packed spine down in a single layer. If there is time, wrap every second item in waxed or freezer paper to prevent the covers sticking to each other.

- Textile items can be laid out flat with tissue or freezer paper rolls in the folds.

- Ensure that freezer paper is used to separate items if you need to have one on top of another. Use long boxes or boards to transport items.

- A commercial blast freezer is ideal as it drops the temperature quickly and has a large capacity. For a small amount of material a household chest freezer with a temperature of -10C can be used (as long as it does not auto-defrost)

- After the freezer has been packed do not open until you are ready to remove the material.

- When transporting material from the freezer to the freeze drier, a freezer truck should be used.

- Alternatively there are disaster companies who will take crates of wet material for immediate freezing. These companies can also offer freeze or vacuum drying.

Once frozen the following procedures can take place.

FREEZE DRYING

In a vacuum chamber the water is turned from solid (ice) to vapour. As there is no liquid stage ink running is minimised.

VACUUM DRYING

Similar to freeze drying, but the temperature in the vacuum chamber is above 0oC so there is a brief water stage.

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

## MOULD

Mould spores are almost everywhere and can cause a major mould outbreak on water damaged material.

CHECK FOR MOULD

- Mould can grow in less than 48 hours.

- Mould can be many different in colours.

- Check if the material feels damp and/or there is a mouldy smell.

- Dirt, dust, stains and cobwebs can look like mould, but in the early stages of growth, mould appears as a fine web of filaments (hyphae). In later stages, the mould develops a bushy appearance; the fruiting bodies containing spores can be seen under magnification.

- Test by brushing with a pony hair brush to see if the mould is dry and powdery (dormant) or soft and smeary (active). Active mould will continue to grow and damage collections. Dormant mould will cause no further damage unless an increase in relative humidity to 70 – 75% or more causes dormant spores to germinate and the mould to become active again.

- Foxing on paper is a closely related phenomenon that can be confused with mould. Foxing involves various agents of bio-deterioration, including mould. Its appearance is characterised by red-brown stains in either discrete spots or irregular splotches, usually with no visible hyphae or mould structure. Like mould, it appears in susceptible papers exposed to high relative humidity.

STOP MOULD GROWTH

- REDUCE THE HUMIDITY. Mould may form in an area with relative humidity of 65% if there is poor ventilation. Mould will grow and remain active when the relative humidity reaches or exceeds 70 – 75 percent.

- KEEP COOL – heat makes mould grow faster.

- DRY OR FREESE WET COLLECTIONS. Freezing will not kill the mould but it will stop it growing until a conservator has a chance to dry and clean the material.

- USE COLD AIR FANS TO INCREASE THE VENTILATION.

- CONSIDER THE HEALTH RISKS – exposure to mould can lead to debilitating allergy even among people not prone to allergies.

- DO NOT USE BLEACH OR DOMESTIC PRODUCTS. These will cause additional damage to objects and will not keep the mould from recurring.

- If in doubt contact a conservator.

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

PTO for First Aid once salvaged

CALL CONSERVATOR

Example House

Salvage / Triage Recovery Areas

(main and small stores)

Main Recovery Store Area:

Letsby train station under passage, situated to the right of Example House when leaving the property via the Main Gates. Police will help to keep this area secure, and must be contacted in such an event.

(Please note: Should events necessitate, Example House north garden has been identified as a potential overflow Recovery Store Area. Security will be required.)

Small Recovery Store area:

Example Mill (English Heritage), Letsby Lane, 000 1234 5678

(Please note: Due to the restricted size of the rooms at Example Mill, a large volume of items will not be able to be stored here).

Transport and Longer Term Storage:

Momart Transport and Storage Services are on standby in such circumstances and would be informed by the management team, offering retrieval, removal and longer term storage facilities in a depot nearby.

Disaster Store Contents, Example House (2011)

Store Location – Central Wing Basement

Personal Protective Equipment

3      boxes latex gloves (M / L / XL)

20    masks

1      first aid kit

1     set of waterproofs

8     helmets (6 new)

6     pairs of Teflon gloves

4     goggles

8     hi-vis vests (including 1 ‘’fire marshall’’)

1     hi-vis suit

Equipment

- wet/dry vacuum cleaner

10   small folding crates

1     mop and squeeze bucket

1     fluorescent lamp ton tripod

2     small freestanding fluorescent lamps

4     carrying slings

1     small sack barrow

3     cable reels

1     4-gang extension cable

1     3-phase extension cable

6     clipboards

1     spool flat string

6     foam blocks (+ other foam)

2     buckets

1     crate

2     palette knives

Tools

- set of screwdrivers and pliers

1     security screwdriver set

2     claw hammers

1     bolt cutter

2     hacksaw (1 junior, 1 standard)

2     cases: 1 screws, 1 nuts/bolts

in-Tool Box

- adjustable wrench

1     wire cutter

1     pliers

1     mole grip

1     tape measure

2     adjustable spanner

1     scalpel

2     scissors

4     knives with spare blades

4     magnetic compasses

Consumables

- roll AFT

1     roll Tyvek

5     rolls polythene

part    roll small bubble wrap

- small roll bubble wrap

3boxes sorbent roll

- oil spill kit

- polythene dustsheets

- packs  polythene sheet

- 2 inch ,asking tape

- 1 inch double sided tape

3     blankets

8     foam tubes

4     roll kitchen paper

3     rolls stockingette

2     tarpaulins (large, small)

1     cotton stair runner

2     cotton dustsheets

1     roll bin liners

2     blocks mastic ‘’Leak Block’’

2     sheets hardboard

25   small sheets Correx (+ more outside)

12    large sheets Correx in Curatorial Store

Post Incident Procedure

1 	PURPOSE

The purpose of this procedure is to detail the method of making the site ready for occupation after a fire, alarm activation, or other emergency.

2 	COMPETENCIES REQUIRED

Staff must be familiar with the site or building, the normal opening up procedure, and what devices or equipment that might need to be reset after activation of the fire alarm system.

3 	WHEN TO USE THIS PROCEDURE

Staff must use this procedure after the site has been made safe following a fire, fire alarm signal or other emergency. If the incident has caused anything more than minor damage the re-opening may need to be delayed to allow for a comprehensive clean-up or building repairs.

4 	WHAT YOU NEED TO DO

- If visitors are waiting for entry keep them informed as to what is happening

- Reset the fire alarm system

- Check that all exit doors and routes are free from obstructions and other hazards; clean or otherwise rectify as necessary.

- Cordon off any areas that are hazardous and cannot be made safe.

- Open automatic fire doors that are held open on magnets.

- Check that all areas are adequately lit.

- Ensure that the visitor experience will not be unduly affected

- Restart boilers.

- Check that room stewards are in position

- Staff the tills

- Allow entry

# Text boxes

- National Safety Team

Emergency Response

Collections Incident Hotline No 01010 101010

Press Hotline No 01010 101010

Example House

Example Avenue

London

Post Code:                           EX0 1AB

Grid Reference:                   EX 000 000

Revision Number & Date:

To be kept at:			        Main Office (Main Wing)

Copy also located at:		Out House Office

Date of Writing Plan:         	13/12/2011

Person Writing Plan:          	Example Name

Telephone Number:	000 1111 1111

MAIN CAR PARK

DO NOT

- Do not  stop to collect personal belongings

- Do not re-enter the building until authorised to do so

- Do not use lifts unless disabled

& lift is checked and declared safe to use.

ON HEARING THE ALARM

  - Evacuate the premises by the nearest route

  - ensure that disabled people are helped to safety

  - Report to the assembly Point  at

In Case of Fire or other emergency:

- Raise the alarm by breaking the nearest fire alarm break-glass call point

- Evacuate the premises by the nearest route

- Tackle the fire, if safe to do so, without taking any risks.

- Call the Fire Brigade by dialling 999

Emergency Evacuation Procedures

Protect	Object Treatment Guidance:

| Air Drying | Natural History |
| --- | --- |
| Books | Paintings |
| Ceramics and Glass | Paper |
| Freezing | Photographs |
| Furniture | Plastics |
| Leather | Stone and Plaster |
| Metal | Textiles |
| Mould |  |

Recover	Salvage Recovery Locations

Salvage Store Inventory

Post Incident Procedure

React		Command Structure for Emergencies

Salvage Risk Assessment

Entry Control Log

Incident Log

Site & Floor Plans (1 copy for staff, 1 copy for emergency services)

- Site Plan

Site & Floor Hazards (1 copy for staff, 1 copy for emergency services)

- Ground Floor Hazard Plan

- First Floor Hazard Plan

Guidance Notes on:

- Fire

- Flood

- Site specific security

- Spillage

- Documentation and Security of Salvaged Objects

Inventory of Priority Objects

Priority Object Salvage Sheets (to be kept with salvaged object at all times)

Inventory of Salvaged Objects (blank form)

Introduction

Assess	Evacuation Procedure (inside cover)

Incident Response

Internal Contacts

External Contacts

Emergency Strategy

Emergency Response

Yes

During office hours

| Estates Helpdesk | 01112 345678 | Email |
| --- | --- | --- |

|  | Monitoring Station | Maintenance Company | Reset arrangements | Contract Information |
| --- | --- | --- | --- | --- |
| Fire Alarm | Monitor Ltd 0888 1234321 | Maintenance Systems 0845 9009000 | Must call company technician for reset | Immediate Fire Brigade response |
| Security Alarm | Monitor Ltd 0888 1234321 | Maintenance Systems 0845 9009000 | Must call company technician for reset | Immediate Securitas response |
| CCTV | Monitor Ltd 0888 1234321 | Maintenance Systems 0845 9009000 |  |  |
| Panic Alarm | Monitor Ltd 0888 1234321 | Maintenance Systems 0845 9009000 | Must call company technician for reset | Immediate Police response |

| Building Maintenance Contractor | Company name | 0111 2000800 |
| --- | --- | --- |
| M & E Maintenance Contractor | Company name | 0111 2110800 |

If needed, escalate to:

| EH Technical Manager (Buildings) | Contact name | 07712 345654 (mob) 0191 200 1111 (office) |
| --- | --- | --- |
| EH Technical Manager (M&E) | Contact name | 07712 345653 (mob) 0191 200 8888 (office) |

Last amendment:

13/06/2014

OUT OF HOURS INCIDENT RESPONSE

Example House

Example Avenue

London

Telephone:	000 1111 1111 (office hours)

07710 981234 (duty manager)

INCIDENT OCCURS

Dial 999

Directions/ Fire Access: 14m NW of city off A100. Access is up drive to customer car park, pond onsite can be pumped for water.

Site Keys: 3 sets of keys to ticket office (held by duty managers). All other keys kept in ticket office in key press.

Are the emergency services required immediately?

Essential Contacts

| Contact name Job title | 07888 600500 (mobile) 01166 881811 (home) | Lives onsite |
| --- | --- | --- |
| Contact name Job title | 07888 400800 (mobile) 01166 881812 (home) | Lives onsite |
| Contact name Job title | 07888 100300 (mobile) 01166 800800 (home) | 15 mins away |

- Press Hotline:

- If collection is at risk call the Conservation Incident Hotline:

No

Do you need to contact alarm or security companies?

Yes

No

Are immediate building works/repairs required?

Yes

- Record all incidents….

Essential site information

- Example House is a complex site, comprising of a stables block, Main Hall, outhouses, as well as extensive gardens.

- The most important part of the collections are detailed on the emergency plan priority list.  Other collections are kept mainly in curatorial stores on the top floor – these are mostly removed furnishings from the Hall itself, and include doors, shutters, baths etc. and are voluminous and would be extremely difficult to remove.  Divert threats away from these stores if possible.

- Dry rot is still active in some parts of the Stables and care must be taken.

- The Gardens are extensive, with hazardous falls possible if the visitor path is not taken.

- There is a large pond just south of the Hall.

Emergency Response Plan locations

- Main Office (Main Wing)

- Out House Office

Incident Management Structure for Salvage

Recovery Team

Co-ordinator

Name:

Quartermaster

Name:

Salvage Teams

Names:

Wet Recovery Teams Names:

Dry Recovery Teams Names:

Communication & Welfare

Name:

Salvage Teams

Names:

Incident Coordinator

Name:

Documentation

Name:

Security

Name:

In the event of an incident that requires a salvage operation, the Incident Coordinator should allocate roles to individuals. This table can be used to document these decisions.

More information about roles can be found on the reverse of this page.

Salvage Team      Co-ordinator

Name:

Roles and Responsibilities

Example House - Site Plan

Main Street

Train line

Rear Entrance

East

Wing

West

Wing

Service

Wing

Example Mill

(English Heritage Property)

Letsby Lane

Letsby Station Under Passage

Station Road

Main Entrance

Entering a Flooded Building in Safety

Documentation and Security of

Salvaged Objects

Object receives first aid Treatment

Treatment

Required

Object

Assessment

(Triage)

Object

Removal

Documentation

And labelling

Treatment

Not

Required

Storage

Packing or

Further

Treatment

Priority 1

Priority 2

Priority 1

Priority 2

Plastics- Salvage

Books - Salvage

BEWARE

- Do not over fill crates, books are heavy.

HANDlING

- Wear gloves if possible.

- Pack into crates or heavy duty bags.

- Also pack any shelf list for an inventory.

- Consider using a book chute for first floor libraries.

PROTECTION IN-SITU

(If items cannot be removed)

- Leave books in shelves, but try to cover front of bookshelves with polythene.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Vellum.

- Take from top shelves first unless bottom shelf is in water.

Books - First Aid

WET

- Keep book shut.

- Rinse if dirty, keeping shut.

- Consider freezing, see below.

- If strong, fan books open and stand on top or bottom edge, stand on driest edge first (as strongest.) Never stand on front edge. Turn book upside-down to opposite edge every few hours. This is best done in a wind tunnel to aid drying.

- OR lay books flat and interleave with blotting paper every 5 mm. Change blotting paper as soon as wet.

- When book is dry, but still cold to touch, place flat on solid surface with weight on top to minimise distortion.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Pack in labelled crates, flat, spine to fore-edge.

- Fill voids with padding to stop books moving.

FREEZE IF WET?

YES – if very wet or dyes are running, or large number of books that cannot be air-dried

- Wrap in freezer paper and pack in labelled crates spine down.

Ceramics and Glass - Salvage

BEWARE

- Be careful of sharp, broken edges.

HANDlING

- Wear gloves.

- Remove lids or loose parts.

- Check for repairs, old adhesive can fail if heated or wet.

- Pick up from bottom, using both hands.

- Do not pick up using handles or knobs.

- Pack into crate, separating pieces with bubble wrap

- If broken, put pieces into padded envelope.

PROTECTION IN-SITU

(If items cannot be removed)

- Move to wall, into fireplace or under furniture.

- Place on plastic sheeting.

- Protect from water with plastic sheeting or bubble wrap.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Items standing on furniture that needs to be removed.

- Remainder of items.

Ceramics and Glass - First Aid

WET OR DAMP

- Rinse if dirty with clean, cold water.

- Blot surfaces dry with paper towel, DO NOT rub.

- Air-dry if still damp.

- Archaeological glass stored in water should be kept in water.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Wrap in labelled acid-free tissue.

- Store in safe place.

FREEZE IF WET?

NO

Furniture - Salvage

BEWARE

- Make sure there are enough people to carry furniture.

- Use carrying straps to aid lifting of large furniture.

HANDlING

- Wear gloves if possible.

- If large and heavy dismantle if time.

- Remove drawers, contents can be left in with spaces padded.

- Lock or tie cupboards shut.

- Lift by lowest weight bearing member.

- Don’t use handles to lift.

PROTECTION IN-SITU

(If items cannot be removed)

- Move to stand next to wall.

- Raise off floor using chocks.

- Cover furniture with wool underlay (if available) and waterproof sheeting.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Furniture blocking routes to other priority objects or exits.

- Remainder of items.

Furniture - First Aid

WET

- Remove any detachable upholstered parts, rinse if necessary then blot and air dry.

- If easily removable, take off any metal components, dry with kitchen towel and put in labelled bags.

- Rinse, or sponge clean any dirty wooden components then blot with kitchen towel.

- Air dry slowly to prevent warping and shrinkage.

- Hold veneers in place with weights or clamps, protecting surface with tissue or waxed paper.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Store in safe place.

- Cover with labelled dustsheet or Tyvek.

FREEZE IF WET?

NO

DO NOT FREEZE PAINTED WOODEN OBJECTS OR MUSICAL INSTRUMENTS.

Leather - Salvage

BEWARE

- If leather is wet tannin can stain, wear protective clothing.

HANDlING

- Wear gloves

- Place on bread tray/ board or support underneath.

PROTECTION IN-SITU

(If items cannot be removed)

- Place near walls and cover with polythene.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Remainder of items.

Leather - First Aid

WET

- Support on board or in a tray at all times.

- If dirty rinse with clean, cold water.

- Drain and blot with kitchen towel.

- Objects such as bags can be reshaped and padded with nylon netting.

- Air dry

- Do NOT dry with heat.

- Consider freezing.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Wrap with labelled acid-free tissue or Tyvek.

- Store in safe place.

FREEZE IF WET?

YES

But only if freezer does not go below -10oC

Metals - Salvage

BEWARE

- Metals objects can be heavy.

- Check electricity supply to lighting is disconnected.

HANDlING

- Wear gloves.

- Check priority sheets for details of chandelier or lantern hanging systems.

- Pack small metal objects into crates, separating with bubble wrap.

- As a last resort, wrought metal can be thrown out of windows.

PROTECTION IN-SITU

(If items cannot be removed)

- Fixed and large items should be covered with polythene.

- If items can be moved, place on polythene by walls and cover with polythene

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Remainder of items.

- Door furniture.

Metals - First Aid

WET

- Remove excess water by blotting with kitchen towel.

- Do NOT blot if there is an applied finish; air dry keeping flaking surfaces horizontal.

- Air-dry as quickly as possible, unless there is an organic component, then air dry slowly.

- Small items can be placed in a sealed box with silica gel.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Wrap in acid-free tissue and pack into labelled crates.

- Store in safe place, preferably with a low relative humidity.

FREEZE IF WET?

NO

Natural History - Salvage

BEWARE

- Specimens and taxidermy can contain hazardous materials, arsenic, mercury etc, so always wear respirator and protective clothing.

HANDlING

- Wear gloves

- Handle by bases and support at all times.

- Keep all information with the specimen.

PROTECTION IN-SITU

(If items cannot be removed)

- Place near walls and cover with polythene.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Remainder of items.

Natural History - First Aid

WET

- Taxidermy can be dried with a hair-dryer on a cool setting accompanied by a gentle rearrangement of fur and feather with cocktail sticks.

- Remove botanic/herbarium specimens from enclosures, recording any information. Blot to remove excess water and air dry slowly.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Wrap with labelled acid-free tissue or Tyvek.

- Store in safe place.

FREEZE IF WET?

YES – anything with seeds to prevent germination.

Paintings - Salvage

BEWARE

- Paintings can be heavy, do not move unless there are enough people.

- Use ladders safely.

HANDlING

- Wear gloves.

- Check priority card for hanging/ security system.

- Check priority card for the number of handlers required.

- Support from the bottom of the frame, do lift from the top.

- Frames can get soft when wet, limit handling.

PROTECTION IN-SITU

(If items cannot be removed)

- Drape polythene in front and behind painting.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Remainder of items.

Paintings - First Aid

WET

- If possible, remove from frame in safe dry place.

- Lay horizontally, paint side up on blocks to allow air circulation.

- Do NOT remove painting from stretcher.

- Lay wet panel paintings flat and support under weak areas.

- Ensure nothing touches the paint surface.

- Do NOT dry with heat or in sunlight.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Store in safe place.

- Stack vertically, face to face or back to back.

- Stack no more than 4 deep, in descending order of size, using pads of acid-free tissue to separate frames.

FREEZE IF WET?

NO

Paper - Salvage

BEWARE

- Lots of wet paper is heavy, do not overload trays.

- Dyes can run and stain.

HANDlING

- Wear gloves

- Use Melinex to remove paper from water, slide underneath.

- Place damp paper flat on a sheet or in a bread try, using sheet or tray for handling.

- Wet paper is very fragile, keep handling to a minimum.

PROTECTION IN-SITU

(If items cannot be removed)

- Place near walls and cover with polythene.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Remainder of items.

Paper - First Aid

WET

- Air-dry flat, interleaved with blotting paper, either as individual sheets or in small piles (5 mm high). Change blotting paper as soon as wet.

- Do NOT unfold or separate sheets that are stuck together or very wet.

- OR consider freezing, see below.

- Lightweight pamphlets can be hung from a line with plastic pegs.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Put in sturdy, labelled crates.

- Store in safe place.

FREEZE IF WET?

YES – if large volume of wet paper or hand coloured prints or inks are bleeding.

- Separate with freezer paper and freeze immediately.

wet framed paper

- Remove from frame in a safe, dry place unless stuck to glass. If paper is stuck leave on glass dry horizontally, glass side down.

- If paper can be removed, dry as for wet paper.

- Bag and label any tacks, pieces of frame or cord.

Photographs - Salvage

HANDlING

- Handle by holding edges

- Keep image side of photo away from any contact with other surfaces.

- Place into bread crates/ crates for quick removal.

BEWARE

- Mould can quickly grows on photographs, wear appropriate PPE.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk

- Remaining photos in bulk

PROTECTION IN-SITU

(If objects cannot be removed)

Photographs -  First Aid

WET OR DAMP PHOTOS

- The emulsion may become sticky, keep hands and other objects from touching the surface.

- Remove from plastic/ paper enclosures or frames, unless stuck.

- Save all information.

- If dirty wash in a bucket or bowl of clean, cold water, agitating water over surface, or clean in light stream of cold water.

- Separate and dry as quickly as possible by;

- Hanging on a line with plastic pegs (do not peg over image.)

- Or, lay flat, image side up, on blotting paper.

- Do not use heat or sunlight to dry.

Separate WET FROM DRY

Dry PHOTOS, ALBUMS AND NEGATIVES

- Take to dry area and keep dry.

- Wrap in labelled acid-free tissue.

- Store in cool place.

WET ALBUMS

- Fan pages

- Air dry upright

- Do Not Interleave

FREEZE IF WET?

NO

WET GLASS NEGATIVES

- Separate and lay image side up on blotting paper

Plastics- Salvage

BEWARE

- Toxic and harmful chemicals may be present if item has been subjected to heat – some plastics may be very acidic

- Some plastics will swell or dissolve in water

HANDlING

- Wear gloves

- Foams may absorb a lot of water and be heavy

- Avoid surface abrasion and beware of applied finish etc.

- Generally more than one plastic and/or other material involved in one object.

- Crate up items separated with bubble wrap

PROTECTION IN-SITU

(If items cannot be removed)

- Cover with waterproof plastic sheet

Order of Removal to Safe Area

- Priority items from room/s of greatest risk

- Plastics on priority items

- Remainder of items

Plastics - First Aid

WET

- Blot gently with kitchen roll but NOT if there is an applied finish

- Remember that there may be trapped water in hollow mouldings.

- If easy – dismantle and store all components together.

- Remove and dispose of any batteries.

- Air dry with no heat

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Store away from direct sunlight and in a cool area

- Protect from frost

FREEZE IF WET?

NO

Stone and Plaster - Salvage

BEWARE

- Stone is heavy, use trolleys and barrows.

HANDlING

- Wear gloves.

- Marble table tops should be carried vertically.

- Plaster is soft when wet, limit handling.

PROTECTION IN-SITU

(If items cannot be removed)

- Place near wall, with polythene underneath and over the object.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Remainder of items.

Stone and Plaster - First Aid

WET

- Blot gently with kitchen roll, but NOT if there is an applied finish.

- Air-dry.

- Monitor for any efflorescence of salts (crystals appearing on the surface).

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Cover with labelled acid-free tissue or Tyvek.

- Store in safe place.

FREEZE IF WET?

NO

Textiles - Salvage

BEWARE

- Wet textiles can be extremely heavy.

HANDlING

- Place on dust sheets or polythene for support and use support for handling.

- Avoid excess folding

- Carpets should be rolled, preferably pile side out.

- Limit handling, textiles are easily torn.

PROTECTION IN-SITU

(If items cannot be removed)

- Roll carpets, wrap in waterproof sheeting and leave next to wall.

- Wool is a fire retardant so use wool under lays to cover objects left in-situ.

Order of Removal to Safe Area

- Priority Items from room/s of greatest risk.

- Textiles on priority items.

- Remainder of items.

Textiles - First Aid

WET

- If dirty rinse in cold clean water.

- Consider freezing see below.

- OR, drain and blot with clean towels or kitchen towel to remove excess water.

- Do NOT unfold delicate fabrics.

- Do NOT stack wet textiles.

- Do NOT wring or twist.

- Remove metal elements if possible, but keep and label, OR separate metal from textile with melinex or polythene.

- Nylon netting can be used to pad out costumes and textiles to increase air-flow.

- Place on netting, or in bread crates and air dry.

- Do NOT use heat to dry.

Separate WET FROM DRY

Dry

- Take to dry area and keep dry.

- Roll carpets pile side out. Cover with labelled dust sheet or Tyvek

- Pack textiles in labelled boxes lined with acid-free tissues. Keep folds to a minimum, placing rolls of acid-free tissue in folds. Separate textiles with acid-free tissue.

- Store in safe place.

FREEZE IF WET?

YES

If large number of wet textiles or dyes are running.

Small Store Recovery and Storage Area:

Example Mill, Letsby Lane

Space for large collections limited.

Potential Overflow Recovery and Storage Area:

North Garden, Example House

Security and shelter required.

Main Store Recovery and Storage Area:

Letsby Station under passage

To be secured by police if used.

Object Recovery Capability is limited. See contact list for Treatment, Transport and Storage Facilities.

Example House Object Recovery Locations